HTC : Mumbai based brand
METRAVI : Calcutta based brand
FLUKE : International brand

HTC DM-97
http://www.urjakart.com/htc-dm-97-digital-multimeter.html
Rs 1293

Features:

- 3¾ Digital Multimeter

- 4000 CountsLarge LCD Display with Auto/Manual Range

- No Power-OFF under natural operation

- Data Hold, Max. / Min. Value Hold

- Capacitance, Frequency / Duty Cycle

- Temperature and Transistor Test
Specifications:

| Basic Functions | Range | Basic Accuracy |
| --- | --- | --- |
| DC Voltage | 0.1mV ~ 1000V | ±(0.5% + 4digit) |
| AC Voltage | 0.1mV ~ 750V | ±(0.8%+ 6digit) |
| DC Current | 0.1uA ~ 20A | ±(1.0% + 5digit) |
| AC Current | 0.1uA ~ 20A | ±(1.5% + 5digit) |
| Resistance | 0.1Ω ~ 40MΩ | ±(0.8% + 2digit) |
| Capacitance | 10pF ~ 200uF | ±(3.5% + 8digit) |
| Frequency | 0.1Hz ~ 30MHz | ±(0.5% + 4digit) |
| Celsius | -40oC～1000oC | ±(0.8% + 4digit) |
| hhFE (NPN or PNP) | 0 ~ 1000 |  |
| Dimension | 185x93x35 mm |  |

Standard Accessories:
-Test Leads
-Holster
-Manual
- TP 01 Temperature Probe Bead type

HTC DM-88

http://www.ebay.in/itm/HTC-3-Autoranging-Digit-Multimeter-Fluke-Looks-034-Multi-meter-tester-DM-88-/161323632477?_trksid=p2054897.l4275

Rs 1575

Features:

3¾ Digital Multimeter
COMS, TTL Logic Test
Large LCD display makes reading clear
No Power-OFF under natural operation
Data Hold, Max. / Min. Value Hold
Capacitance, Frequency / Duty Cycle,Temperature and Transistor Test

HTC - 3½ Digit " Fluke Looks " Digital Multimeter Multi meter DM-86 tester

http://www.ebay.in/itm/HTC-3-Digit-Fluke-Looks-Digital-Multimeter-Multi-meter-DM-86-tester-/151432687325?_trksid=p2054897.l5660

Rs 1065

Features:

3½ Digital Multimeter
No Power-OFF under natural operation
Full protection in All Ranges
NCV Test

New Fluke 101 Autoranging Digital Multimeter DMM
http://www.ebay.in/itm/New-Fluke-101-Autoranging-Digital-Multimeter-DMM-/161454964722?_trksid=p2054897.l5659

Rs 2239

Features

- Basic dc accuracy 0.5% - CAT III 600 V safety rated - Diode and continuity test with buzzer - Small lightweight design for one-handed use - Rugged, durable design - Automatic shutdown - Battery is easy to replace..

Specification:

| Electrical Specifications |  |  |
| --- | --- | --- |
| V AC (40-500Hz) | Range | 600.0 mV 6.000 V 60.00 V 600.0 V |
|  | Resolution | 0.1 mV 0.001 V 0.01 V 0.1 V |
|  | Accuracy | 3.0%±3 digit 1.0%±3 digit |
| V DC | Range | 6.000 V 60.00 V 600.0 V |
|  | Resolution | 0.001 V 0.01 V 0.1 V |
|  | Accuracy | 0.5%±3 digit |
| Resistance Ohms | Range | 400.0 Ω 4.000 kΩ 40.00 kΩ 400.0 kΩ 4.000 MΩ 40.00 MΩ |
|  | Resolution | 0.1 Ω 0.001 kΩ 0.01 kΩ 0.1 kΩ 0.001 MΩ 0.01 MΩ |
|  | Accuracy | 0.5 %±3 digit 0.5 %±2 digit 0.5 %±2 digit 0.5 %±2 digit 0.5 %±2 digit 1.5%±3 digit |
| Capacitance | Range | 50.00 nF 500.0 nF 5.000 μF 50.00 μF 100.0 μF |
|  | Resolution | 0.01 nF 0.1 nF 0.001 μF 0.01 μF 0.1 μF |
| Frequency (10 Hz – 100 kHz) | Range | 50.00 Hz 500.0 Hz 5.000 kHz 50.00 kHz 100.0 kHz |
|  | Resolution | 0.01 Hz 0.1 Hz 0.001 kHz 0.01 kHz 0.1 kHz |
| Duty Cycle | Range | 0.1 % to 99.9 % |
|  | Resolution | 0.1 % |
| General Specifications |  |  |
| CAT Rating | CAT III 600 V |  |
| V AC Range | 600.0 V |  |
| V DC Range | 600.0 V |  |
| Ohms Range | 40.00 MΩ |  |
| Auto Shutoff | Y |  |
| Continuity | Y |  |
| Capacitor | 100.0 μF |  |
| Frequency | 100.0 kHz |  |
| Hold | No |  |
| Duty Cycle | Yes |  |
| Size | 130 mm x 65 mm x 27mm |  |
| Weight | 160 g |  |
| Battery | Two AAA |  |
| Warranty | 1 year |  |
| Environmental Specifications |  |  |
| Operating Temperature | 0 °C to +40 °C |  |
| Storage Temperature | -30 °C to +60 °C |  |
| Operating Humidity | Non condensing (<10 °C) <=90% RH (at 10 °C to 30 °C) <=75% RH (at 30 °C to 40 °C) (Without Condensation) |  |
| Operating Humidity, 40 MΩ | 80% RH 10 °C to 30 °C, 70% RH 30 °C to 40 °C |  |
| Operating Altitude | 2,000 meters |  |
| Storage Altitude | 12,000 meters |  |
| IP Rating | IP 40 per IEC 60529 |  |
| Vibration Requirements | MIL-PRF-28800F, Class 2 |  |
| Drop Test Requirements | -10°C and 1 meter to surface, per IEC-61010-1, and Fluke SOP 39.1 for portable Hand-held equipment Shipping container drop per Fluke SOP 39. |  |
| EMI, RFI, EMC | Must meet all applicable requirements in IEC/EN 61326-1 |  |
| Absorption/Corrosion | Per Fluke SOP 39.1 |  |
| Temperature Coefficients | Add 0.1 x specified accuracy for each degree C above 28 °C or below 18 ºC |  |

DM86

DM87

DM88

DM 97

DM98

UNI-T UT61E